BOQ

| Sr. No | Item Description | Unit | Rate (Rs.) |
| --- | --- | --- | --- |
| 1 | Waterproof Coating: - Waterproofing treatment to the Terrace concrete / roof directly exposed to UV Apcobulid Dampshield, of apcotex industries ltd, Elastomeric coating with reinforced fiber two coating. Resistance to the effect of long weathering like chalking and flaking. Higher film thickness, has excellent flexibility breathing properties ,water resistance excellent crack bridging ability and weathering durability. It prevents moisture, seepage through hairline cracks on concrete due to its film flexibility. | SqFT |  |