BOQ

| Sr. No | Item Description | Unit | Rate (Rs.) |
| --- | --- | --- | --- |
| 1 | Waterproof Coating: Applying two coats of Apcobuild Hydrocrete, of apcotex industries ltd. effective water proof coating on well prepared concrete. Good performance acrylic polymer modified cementitious coating. Protect concrete against water penetration. Non – corrosive to steel or iron. Durable in all climatic conditions un – affected by ultra violet hence suitable for exterior application. wherever required, water pounding for curing & testing for min. 7 days etc. all complete. Fillets of 45 mm  45 mm should be apply at the corner / junction of wall & slab wherever required, in 1:3 cement mortar. | SqFt |  |