BOQ

| Sr. No | Item Description | Unit | Rate (Rs.) |
| --- | --- | --- | --- |
| 1 | Waterproof Coating: Applying primer plus two coats of Apcobuild Flex PU WB ,of apcotex industries ltd, Single component liquid applied system based on an advance polyurethane modified water based polymer forming seamless elastomeric flexible waterproofing membrane. The waterproof membrane on exposure to ultra violet radiation with excellent weathering, crack bridging properties. as per the manufacture specification including water pounding for curing & testing for min. 7 days etc. all complete. | SQFT |  |