BOQ

| Sr. No | Item Description | Unit | Rate (Rs.) |
| --- | --- | --- | --- |
| 1 | Waterproofing treatment to Metal roof with Apcobuild Flex PU WB of apcotex industries ltd. Single component liquid applied system based on an advance polyurethane modified water based polymer forming seamless elastomeric flexible waterproofing membrane on metal surface. The waterproof membrane on exposure to ultra violet radiation with excellent weathering, crack bridging properties | SQFT |  |